MEEG Checklist

Setup:

1. Measure head (“parallel”) and choose the cap.
2. Put on the cap.
3. Measure nasion to inion and place Cz.
4. Q-tips to remove hair + alcohol
5. A little gel.
6. Headshape.
7. Markers.
8. Impedance.
9. Get into MEG. Ear plugs. Microphone.
10. Double check impedance.
11. Bring USB to room 2. Plug USB and plug the triggers cable.
12. Turn microphone on.

MEG recording

1.

2.

EEG recording

1.

2.